This routine was created in version 2.0.30 on machine with Basler 1 inch

Conditions in the beginning of this procedure: the SW should be started in Measure Mode. Initial state is set to low mag and the stage is in the middle. Default light value has only back light (SRL and Surface =0).

STEPS

1. Click somewhere in the title bar
2. Press Alt
3. Press F
4. Press O
5. Double click on the field with the name
6. Press Delete button from the keyboard
7. Type (D:\Joro\AUTOMATION\TestRoutines\Math\Construct.mxy) using the keyboard
8. Press Enter button from the keyboard
9. Click somewhere in the title bar
10. Press Alt
11. Press F
12. Press R
13. Click OK
14. Set Delay for 15 sec
15. Click Finish button
16. Press Alt
17. Press F
18. Press N
19. Load Construct.sta document
20. Maximize
21. Validate the text
22. Close the file

Camera\_Use\_Same\_Image =1

Enable panning = 1

The results from this measurement are saved in D:\Joro\AUTOMATION\Reports\Math\Construct.STA